## Sheet1
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 37.62
weight_V | 0.01 | Gap | % | 11.55
Storage_cost | 300 | Solve Time | sec. | 36.72
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.336
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [1, 2, 6, 7, 9, 11, 13, 16, 17, 18, 19, 20, 22, 26, 27, 31, 32, 33, 34]
storage | FALSE | Nb lines cond 2 | - | [8]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 1440 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 224.3
SUB_COST | 1000 | DSO fixed sub | kEUR | 1513
EV | FALSE | DSO loss | kEUR | 143.8
EEC | 0.1 | DSO future value | kEUR | 32140
GCC | 80 | DSO revenues | kEUR | 34900
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | network | Grid connection | kEUR/year | 698
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 0.01817
weight_I | 0.01 | PV capacity | MVA | 8.142
plot_file_name | plot | PV penetration (v1) | %/year | 3.791
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.6476
Storage_pen | 1 | PV energy | MWh/year | 10740.0
PV_CAPA | 0.4 | PV potential | MWh/year | 39230.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3632
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.5
|  | Mean Global Production ratio | average, [%] | 0.3013
|  | LCOE pv | kEUR/MWh | 0.01825
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4998
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.4998
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2695
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 0.1817
|  | Substation 1 capacity | MVA | 0.2126
|  | Substation 2 capacity | MVA | 1.3
|  | loss | MWh/year | 13.69
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03474
|  | OPEX | k€/y | 2.875
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.698
|  | UNEEC | M€/y | 1.753
|  | USS | % | 0.3632
|  | USC | % | 0.5

## Sheet2
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 72.16
weight_V | 0.01 | Gap | % | 53.92
Storage_cost | 300 | Solve Time | sec. | 20.27
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.369
PP | 7 | Peak sub min | MW | -0.008481
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 1
PVC | 500 | Nb lines cond 1 | - | [2, 3, 6, 7, 9, 11, 13, 14, 16, 17, 18, 19, 20, 24, 26, 27, 31, 32, 33, 34]
storage | FALSE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 1440 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 219.7
SUB_COST | 1000 | DSO fixed sub | kEUR | 1576
EV | FALSE | DSO loss | kEUR | 1721
EEC | 0.1 | DSO future value | kEUR | 34800
GCC | 80 | DSO revenues | kEUR | 35130
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | network | Grid connection | kEUR/year | 702.6
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 4.628
weight_I | 0.01 | PV capacity | MVA | 8.142
plot_file_name | plot | PV penetration (v1) | %/year | 3.791
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.6504
Storage_pen | 1 | PV energy | MWh/year | 10780.0
PV_CAPA | 0.4 | PV potential | MWh/year | 39230.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3632
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.4969
|  | Mean Global Production ratio | average, [%] | 0.3016
|  | LCOE pv | kEUR/MWh | 0.01818
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.5
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.434
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2695
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.275
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 46.28
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 1.576
|  | loss | MWh/year | 163.9
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03592
|  | OPEX | k€/y | 34.42
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.7026
|  | UNEEC | M€/y | 1.748
|  | USS | % | 0.3632
|  | USC | % | 0.4969

## Sheet3
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 37.62
weight_V | 0.01 | Gap | % | 11.6
Storage_cost | 300 | Solve Time | sec. | 25.32
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.336
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [1, 2, 6, 7, 9, 11, 13, 16, 17, 18, 19, 20, 22, 26, 27, 31, 32, 33, 34]
storage | FALSE | Nb lines cond 2 | - | [8]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 1440 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 224.3
SUB_COST | 1000 | DSO fixed sub | kEUR | 1513
EV | FALSE | DSO loss | kEUR | 143.8
EEC | 0.1 | DSO future value | kEUR | 32140
GCC | 80 | DSO revenues | kEUR | 34900
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | network | Grid connection | kEUR/year | 698
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 0.01817
weight_I | 0.01 | PV capacity | MVA | 8.142
plot_file_name | plot | PV penetration (v1) | %/year | 3.791
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.6476
Storage_pen | 1 | PV energy | MWh/year | 10740.0
PV_CAPA | 0.4 | PV potential | MWh/year | 39230.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3632
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.5
|  | Mean Global Production ratio | average, [%] | 0.3013
|  | LCOE pv | kEUR/MWh | 0.01825
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4998
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.4998
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2695
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 0.1817
|  | Substation 1 capacity | MVA | 0.2126
|  | Substation 2 capacity | MVA | 1.3
|  | loss | MWh/year | 13.69
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03474
|  | OPEX | k€/y | 2.875
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.698
|  | UNEEC | M€/y | 1.753
|  | USS | % | 0.3632
|  | USC | % | 0.5

## Sheet4
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 145.8
weight_V | 0.01 | Gap | % | 77.21
Storage_cost | 300 | Solve Time | sec. | 8.527
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.356
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [3, 7, 8, 9, 11, 13, 16, 18, 19, 26, 27, 31, 32, 33, 34]
storage | FALSE | Nb lines cond 2 | - | [2, 6, 17, 20, 22]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 1440 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 231.3
SUB_COST | 1000 | DSO fixed sub | kEUR | 1551
EV | FALSE | DSO loss | kEUR | 1402
EEC | 0.1 | DSO future value | kEUR | 34230
GCC | 80 | DSO revenues | kEUR | 35090
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | network | Grid connection | kEUR/year | 701.8
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 3.808
weight_I | 0.01 | PV capacity | MVA | 8.142
plot_file_name | plot | PV penetration (v1) | %/year | 3.791
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.6499
Storage_pen | 1 | PV energy | MWh/year | 10770.0
PV_CAPA | 0.4 | PV potential | MWh/year | 39230.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3632
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.4974
|  | Mean Global Production ratio | average, [%] | 0.3015
|  | LCOE pv | kEUR/MWh | 0.01819
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4455
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.5
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2749
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 38.08
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 1.551
|  | loss | MWh/year | 133.5
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03565
|  | OPEX | k€/y | 28.04
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.7018
|  | UNEEC | M€/y | 1.749
|  | USS | % | 0.3632
|  | USC | % | 0.4974

## Sheet5
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 145.8
weight_V | 0.01 | Gap | % | 77.21
Storage_cost | 300 | Solve Time | sec. | 8.313
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.356
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [3, 7, 8, 9, 11, 13, 16, 18, 19, 26, 27, 31, 32, 33, 34]
storage | FALSE | Nb lines cond 2 | - | [2, 6, 17, 20, 22]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 1440 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 231.3
SUB_COST | 1000 | DSO fixed sub | kEUR | 1551
EV | FALSE | DSO loss | kEUR | 1402
EEC | 0.1 | DSO future value | kEUR | 34230
GCC | 80 | DSO revenues | kEUR | 35090
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | network | Grid connection | kEUR/year | 701.8
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 3.808
weight_I | 0.01 | PV capacity | MVA | 8.142
plot_file_name | plot | PV penetration (v1) | %/year | 3.791
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.6499
Storage_pen | 1 | PV energy | MWh/year | 10770.0
PV_CAPA | 0.4 | PV potential | MWh/year | 39230.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3632
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.4974
|  | Mean Global Production ratio | average, [%] | 0.3015
|  | LCOE pv | kEUR/MWh | 0.01819
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4455
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.5
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2749
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 38.08
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 1.551
|  | loss | MWh/year | 133.5
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03565
|  | OPEX | k€/y | 28.04
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.7018
|  | UNEEC | M€/y | 1.749
|  | USS | % | 0.3632
|  | USC | % | 0.4974