## Sheet1
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 121.8
weight_V | 0.01 | Gap | % | 3.759
Storage_cost | 500 | Solve Time | sec. | 1200
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 5.432
network_reconfig | FALSE | Peak sub max | MW | 5.422
PP | 7 | Peak sub min | MW | -1.174
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 3, 4, 6, 7, 8, 12, 14, 16, 17, 18, 19, 20, 22, 24, 32, 33]
storage | FALSE | Nb lines cond 2 | - | [11, 26, 27]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [28]
delta_t | 60 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 165.1
SUB_COST | 1000 | DSO fixed sub | kEUR | 5714
EV | FALSE | DSO loss | kEUR | 213.5
EEC | 0.1 | DSO future value | kEUR | 108500
GCC | 80 | DSO revenues | kEUR | 108500
EIC | 0.3 | User | kEUR/year | 5874
verbose | TRUE | PV | kEUR/year | 241.4
network_graph_name | network_graph_simu0 | Grid connection | kEUR/year | 2170
EHP | FALSE | Energy imported | kEUR/year | 3704
PV_pen | 1 | Energy exported | kEUR/year | 241.8
weight_I | 0.01 | PV capacity | MVA | 8.4
plot_file_name | plot_simu0 | PV penetration (v1) | %/year | 1.546
Storage_eff | 0.9 | PV penetration (v2) | %/year | 0.401
Storage_pen | 1 | PV energy | MWh/year | 6647.0
PV_CAPA | 0.4 | PV potential | MWh/year | 12980.0
simu_name | simu_0 | Mean Global Self sufficiency/day | average, [%] | 0.2125
IR_DSO | 0.06 | Mean Global Self Consumption/day | average, [%] | 0.4204
AMORT_STORAGE | 15 | Mean Global Production ratio | average, [%] | 0.4202
|  | LCOE pv | kEUR/MWh | 0.03632
|  | Mean Self Sufficiency User 1 | % | 0.2142
|  | Mean Self Sufficiency User 2 | % | 0.2275
|  | Mean Self Sufficiency User 3 | % | 0.2145
|  | Mean Self Sufficiency User 4 | % | 0.2197
|  | Mean Self Sufficiency User 5 | % | 0.2119
|  | Mean Self Sufficiency User 6 | % | 0.1882
|  | Mean Self Sufficiency User 7 | % | 0.2002
|  | Mean Self Sufficiency User 8 | % | 0.1921
|  | Mean Self Sufficiency User 9 | % | 0.2241
|  | Mean Self Sufficiency User 10 | % | 0.2171
|  | Mean Self Sufficiency User 11 | % | 0.2154
|  | Mean Self Sufficiency User 12 | % | 0.209
|  | Mean Self Sufficiency User 13 | % | 0.243
|  | Mean Self Sufficiency User 14 | % | 0.1877
|  | Mean Self Sufficiency User 15 | % | 0.2421
|  | Mean Self Sufficiency User 16 | % | 0.2039
|  | Mean Self Sufficiency User 17 | % | 0.1882
|  | Mean Self Sufficiency User 18 | % | 0.2021
|  | Mean Self Sufficiency User 19 | % | 0.2063
|  | Mean Self Sufficiency User 20 | % | 0.1831
|  | Mean Self Sufficiency User 21 | % | 0.2728
|  | Mean Self Consumption User 1 | % | 0.3858
|  | Mean Self Consumption User 2 | % | 0.4606
|  | Mean Self Consumption User 3 | % | 0.4627
|  | Mean Self Consumption User 4 | % | 0.3836
|  | Mean Self Consumption User 5 | % | 0.3871
|  | Mean Self Consumption User 6 | % | 0.3946
|  | Mean Self Consumption User 7 | % | 0.4022
|  | Mean Self Consumption User 8 | % | 0.4048
|  | Mean Self Consumption User 9 | % | 0.4353
|  | Mean Self Consumption User 10 | % | 0.4321
|  | Mean Self Consumption User 11 | % | 0.4478
|  | Mean Self Consumption User 12 | % | 0.3815
|  | Mean Self Consumption User 13 | % | 0.4431
|  | Mean Self Consumption User 14 | % | 0.4727
|  | Mean Self Consumption User 15 | % | 0.3696
|  | Mean Self Consumption User 16 | % | 0.438
|  | Mean Self Consumption User 17 | % | 0.4659
|  | Mean Self Consumption User 18 | % | 0.4336
|  | Mean Self Consumption User 19 | % | 0.4568
|  | Mean Self Consumption User 20 | % | 0.4649
|  | Mean Self Consumption User 21 | % | 0.3063
|  | Mean Production Ratio User 1 | % | 0.4903
|  | Mean Production Ratio User 2 | % | 0.3735
|  | Mean Production Ratio User 3 | % | 0.3935
|  | Mean Production Ratio User 4 | % | 0.4967
|  | Mean Production Ratio User 5 | % | 0.4413
|  | Mean Production Ratio User 6 | % | 0.426
|  | Mean Production Ratio User 7 | % | 0.4331
|  | Mean Production Ratio User 8 | % | 0.4693
|  | Mean Production Ratio User 9 | % | 0.4015
|  | Mean Production Ratio User 10 | % | 0.3801
|  | Mean Production Ratio User 11 | % | 0.4136
|  | Mean Production Ratio User 12 | % | 0.4446
|  | Mean Production Ratio User 13 | % | 0.3792
|  | Mean Production Ratio User 14 | % | 0.4186
|  | Mean Production Ratio User 15 | % | 0.4039
|  | Mean Production Ratio User 16 | % | 0.4336
|  | Mean Production Ratio User 17 | % | 0.4052
|  | Mean Production Ratio User 18 | % | 0.3694
|  | Mean Production Ratio User 19 | % | 0.4196
|  | Mean Production Ratio User 20 | % | 0.3908
|  | Mean Production Ratio User 21 | % | 0.4402
|  | Grid capacity | average, MVA | 0.4127
|  | Energy bought from grid | MWh/year | 12350
|  | Energy sold to grid | MWh/year | 2418
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 5.714
|  | loss | MWh/year | 20.34
|  | LCOE grid | kEUR/MWh | 0.4562
|  | CAPEX | M€/y | 0.1176
|  | OPEX | k€/y | 4.271
|  | UPVC | M€/y | 0.2414
|  | UGCC | M€/y | 2.17
|  | UNEEC | M€/y | 3.463
|  | USS | % | 0.2125
|  | USC | % | 0.4204