## Sheet1
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 283.7
weight_V | 0.01 | Gap | % | 17.93
Storage_cost | 500 | Solve Time | sec. | 1200
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 33150
AMORT_DSO | 50 | Peak Demand | MW | 10.86
network_reconfig | FALSE | Peak sub max | MW | 10.96
PP | 7 | Peak sub min | MW | -1.322
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 3, 4, 6, 7, 8, 11, 12, 13, 16, 17, 18, 19, 20, 22, 26, 27, 28, 29]
storage | FALSE | Nb lines cond 2 | - | [23, 32]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 60 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 168
SUB_COST | 1000 | DSO fixed sub | kEUR | 11570
EV | TRUE | DSO loss | kEUR | 1988
EEC | 0.1 | DSO future value | kEUR | 218200
GCC | 80 | DSO revenues | kEUR | 218200
EIC | 0.3 | User | kEUR/year | 12460
verbose | TRUE | PV | kEUR/year | 273.2
network_graph_name | network_graph_simu1 | Grid connection | kEUR/year | 4364
EHP | FALSE | Energy imported | kEUR/year | 8095
PV_pen | 1 | Energy exported | kEUR/year | 268.3
weight_I | 0.01 | PV capacity | MVA | 8.4
plot_file_name | plot_simu1 | PV penetration (v1) | %/year | 0.7732
Storage_eff | 0.9 | PV penetration (v2) | %/year | 0.2671
Storage_pen | 1 | PV energy | MWh/year | 8854.0
PV_CAPA | 0.4 | PV potential | MWh/year | 12980.0
simu_name | simu_1 | Mean Global Self sufficiency/day | average, [%] | 0.1713
IR_DSO | 0.06 | Mean Global Self Consumption/day | average, [%] | 0.4426
AMORT_STORAGE | 15 | Mean Global Production ratio | average, [%] | 0.4521
|  | LCOE pv | kEUR/MWh | 0.03086
|  | Mean Self Sufficiency User 1 | % | 0.1661
|  | Mean Self Sufficiency User 2 | % | 0.1845
|  | Mean Self Sufficiency User 3 | % | 0.1705
|  | Mean Self Sufficiency User 4 | % | 0.1695
|  | Mean Self Sufficiency User 5 | % | 0.1846
|  | Mean Self Sufficiency User 6 | % | 0.1553
|  | Mean Self Sufficiency User 7 | % | 0.1522
|  | Mean Self Sufficiency User 8 | % | 0.1496
|  | Mean Self Sufficiency User 9 | % | 0.183
|  | Mean Self Sufficiency User 10 | % | 0.1826
|  | Mean Self Sufficiency User 11 | % | 0.1745
|  | Mean Self Sufficiency User 12 | % | 0.1651
|  | Mean Self Sufficiency User 13 | % | 0.1955
|  | Mean Self Sufficiency User 14 | % | 0.1459
|  | Mean Self Sufficiency User 15 | % | 0.1917
|  | Mean Self Sufficiency User 16 | % | 0.1552
|  | Mean Self Sufficiency User 17 | % | 0.1425
|  | Mean Self Sufficiency User 18 | % | 0.1739
|  | Mean Self Sufficiency User 19 | % | 0.1633
|  | Mean Self Sufficiency User 20 | % | 0.1543
|  | Mean Self Sufficiency User 21 | % | 0.2381
|  | Mean Self Consumption User 1 | % | 0.4274
|  | Mean Self Consumption User 2 | % | 0.4216
|  | Mean Self Consumption User 3 | % | 0.4295
|  | Mean Self Consumption User 4 | % | 0.4364
|  | Mean Self Consumption User 5 | % | 0.4296
|  | Mean Self Consumption User 6 | % | 0.4121
|  | Mean Self Consumption User 7 | % | 0.4096
|  | Mean Self Consumption User 8 | % | 0.4841
|  | Mean Self Consumption User 9 | % | 0.4602
|  | Mean Self Consumption User 10 | % | 0.4238
|  | Mean Self Consumption User 11 | % | 0.463
|  | Mean Self Consumption User 12 | % | 0.439
|  | Mean Self Consumption User 13 | % | 0.439
|  | Mean Self Consumption User 14 | % | 0.4836
|  | Mean Self Consumption User 15 | % | 0.4527
|  | Mean Self Consumption User 16 | % | 0.4903
|  | Mean Self Consumption User 17 | % | 0.4565
|  | Mean Self Consumption User 18 | % | 0.4488
|  | Mean Self Consumption User 19 | % | 0.4503
|  | Mean Self Consumption User 20 | % | 0.4493
|  | Mean Self Consumption User 21 | % | 0.3878
|  | Mean Production Ratio User 1 | % | 0.4977
|  | Mean Production Ratio User 2 | % | 0.4372
|  | Mean Production Ratio User 3 | % | 0.4747
|  | Mean Production Ratio User 4 | % | 0.4983
|  | Mean Production Ratio User 5 | % | 0.4913
|  | Mean Production Ratio User 6 | % | 0.4719
|  | Mean Production Ratio User 7 | % | 0.4796
|  | Mean Production Ratio User 8 | % | 0.4502
|  | Mean Production Ratio User 9 | % | 0.4347
|  | Mean Production Ratio User 10 | % | 0.4282
|  | Mean Production Ratio User 11 | % | 0.452
|  | Mean Production Ratio User 12 | % | 0.4373
|  | Mean Production Ratio User 13 | % | 0.4331
|  | Mean Production Ratio User 14 | % | 0.4433
|  | Mean Production Ratio User 15 | % | 0.4109
|  | Mean Production Ratio User 16 | % | 0.4454
|  | Mean Production Ratio User 17 | % | 0.4481
|  | Mean Production Ratio User 18 | % | 0.3974
|  | Mean Production Ratio User 19 | % | 0.4744
|  | Mean Production Ratio User 20 | % | 0.4396
|  | Mean Production Ratio User 21 | % | 0.4491
|  | Grid capacity | average, MVA | 0.832
|  | Energy bought from grid | MWh/year | 26980
|  | Energy sold to grid | MWh/year | 2683
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 11.57
|  | loss | MWh/year | 189.3
|  | LCOE grid | kEUR/MWh | 0.4518
|  | CAPEX | M€/y | 0.2348
|  | OPEX | k€/y | 39.76
|  | UPVC | M€/y | 0.2732
|  | UGCC | M€/y | 4.364
|  | UNEEC | M€/y | 7.827
|  | USS | % | 0.1713
|  | USC | % | 0.4426