## Sheet1
|  | Model |  | Single Level
AMORT_PV | 25 | Objective | kEUR/year | 20510
weight_V | 0.01 | Gap | % | 0.4604
Storage_cost | 600 | Solve Time | sec. | 319.2
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 51970
AMORT_DSO | 50 | Peak Demand | MW | 21.73
network_reconfig | TRUE | Peak sub max | MW | 14.97
PP | 7 | Peak sub min | MW | -0.222
bilevel | FALSE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [1, 2, 3, 4, 6, 7, 8, 11, 12, 14, 16, 17, 18, 19, 20, 22, 26, 27, 28, 29, 32]
storage | TRUE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 60 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 148
SUB_COST | 1000 | DSO fixed sub | kEUR | 16090
EV | TRUE | DSO loss | kEUR | 711.4
EEC | 0.1 | DSO future value | kEUR | 299700
GCC | 80 | DSO revenues | kEUR | 299700
EIC | 0.3 | User | kEUR/year | 20160
verbose | TRUE | PV | kEUR/year | 319.7
network_graph_name | network_graph_simu10 | Storage | kEUR/year | 1075
EHP | TRUE | Grid connection | kEUR/year | 5995
PV_pen | 1 | Energy imported | kEUR/year | 12850
weight_I | 0.01 | Energy exported | kEUR/year | 74.15
plot_file_name | plot_simu10 | PV capacity | MVA | 8.4
Storage_eff | 0.9 | PV penetration (v1) | %/year | 0.3866
Storage_pen | 1 | PV penetration (v2) | %/year | 0.2437
PV_CAPA | 0.4 | PV energy | MWh/year | 12660.0
simu_name | simu_10 | PV potential | MWh/year | 12980.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.5037
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.4867
|  | Mean Global Production ratio | average, [%] | 0.4969
|  | LCOE pv | kEUR/MWh | 0.02525
|  | Mean Self Sufficiency User 1 | % | 0.3064
|  | Mean Self Sufficiency User 2 | % | 0.352
|  | Mean Self Sufficiency User 3 | % | 0.4206
|  | Mean Self Sufficiency User 4 | % | 0.3957
|  | Mean Self Sufficiency User 5 | % | 0.3269
|  | Mean Self Sufficiency User 6 | % | 0.6481
|  | Mean Self Sufficiency User 7 | % | 0.5764
|  | Mean Self Sufficiency User 8 | % | 0.2714
|  | Mean Self Sufficiency User 9 | % | 0.6029
|  | Mean Self Sufficiency User 10 | % | 0.6975
|  | Mean Self Sufficiency User 11 | % | 0.4891
|  | Mean Self Sufficiency User 12 | % | 0.6653
|  | Mean Self Sufficiency User 13 | % | 0.7333
|  | Mean Self Sufficiency User 14 | % | 0.4599
|  | Mean Self Sufficiency User 15 | % | 0.4352
|  | Mean Self Sufficiency User 16 | % | 0.3346
|  | Mean Self Sufficiency User 17 | % | 0.4905
|  | Mean Self Sufficiency User 18 | % | 0.7601
|  | Mean Self Sufficiency User 19 | % | 0.5228
|  | Mean Self Sufficiency User 20 | % | 0.5878
|  | Mean Self Sufficiency User 21 | % | 0.5016
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4211
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.4632
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.4138
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.4617
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.4845
|  | Mean Self Consumption User 21 | % | 0.4775
|  | Mean Production Ratio User 1 | % | 0.5
|  | Mean Production Ratio User 2 | % | 0.4902
|  | Mean Production Ratio User 3 | % | 0.5
|  | Mean Production Ratio User 4 | % | 0.5
|  | Mean Production Ratio User 5 | % | 0.5
|  | Mean Production Ratio User 6 | % | 0.4983
|  | Mean Production Ratio User 7 | % | 0.5
|  | Mean Production Ratio User 8 | % | 0.5
|  | Mean Production Ratio User 9 | % | 0.4902
|  | Mean Production Ratio User 10 | % | 0.5
|  | Mean Production Ratio User 11 | % | 0.5
|  | Mean Production Ratio User 12 | % | 0.4966
|  | Mean Production Ratio User 13 | % | 0.5
|  | Mean Production Ratio User 14 | % | 0.4983
|  | Mean Production Ratio User 15 | % | 0.4902
|  | Mean Production Ratio User 16 | % | 0.5
|  | Mean Production Ratio User 17 | % | 0.5
|  | Mean Production Ratio User 18 | % | 0.4902
|  | Mean Production Ratio User 19 | % | 0.5
|  | Mean Production Ratio User 20 | % | 0.4902
|  | Mean Production Ratio User 21 | % | 0.4902
|  | Grid capacity | average, MVA | 0.9752
|  | Energy bought from grid | MWh/year | 42820
|  | Energy sold to grid | MWh/year | 741.5
|  | Substation 1 capacity | MVA | 12.49
|  | Substation 2 capacity | MVA | 3.599
|  | loss | MWh/year | 67.75
|  | LCOE grid | kEUR/MWh | 0.4383
|  | Storage capacity | average, MWh | 1.28
|  | Storage state | average, [-] | 0.6108
|  | CAPEX | M€/y | 0.3247
|  | OPEX | k€/y | 14.23
|  | UPVC | M€/y | 0.3197
|  | UGCC | M€/y | 5.995
|  | UNEEC | M€/y | 12.77
|  | USS | % | 0.5037
|  | USC | % | 0.4867