## Sheet1
|  | Model |  | Single Level
AMORT_PV | 25 | Objective | kEUR/year | 23750
weight_V | 0.01 | Gap | % | 0.106
Storage_cost | 600 | Solve Time | sec. | 1200
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 51970
AMORT_DSO | 50 | Peak Demand | MW | 21.73
network_reconfig | TRUE | Peak sub max | MW | 18.42
PP | 7 | Peak sub min | MW | 0.9055
bilevel | FALSE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 6, 7, 11, 12, 13, 16, 17, 18, 19, 20, 22, 25, 26, 27, 28, 29, 32]
storage | TRUE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 60 | Nb lines cond 4 | - | [1, 3, 4]
DSOEC | 0.1 | DSO fixed line | kEUR | 162.9
SUB_COST | 1000 | DSO fixed sub | kEUR | 19780
EV | TRUE | DSO loss | kEUR | 560.8
EEC | 0.1 | DSO future value | kEUR | 367900
GCC | 80 | DSO revenues | kEUR | 367900
EIC | 0.3 | User | kEUR/year | 23340
verbose | TRUE | PV | kEUR/year | 0
network_graph_name | network_graph_simu12 | Storage | kEUR/year | 259.9
EHP | TRUE | Grid connection | kEUR/year | 7358
PV_pen | 1 | Energy imported | kEUR/year | 15720
weight_I | 0.01 | Energy exported | kEUR/year | 0
plot_file_name | plot_simu12 | PV capacity | MVA | 0.0
Storage_eff | 0.9 | PV penetration (v1) | %/year | 0.0
Storage_pen | 1 | PV penetration (v2) | %/year | 0.0
PV_CAPA | 0 | PV energy | MWh/year | 0.0
simu_name | simu_12 | PV potential | MWh/year | 0.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.0
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | NaN
|  | Mean Global Production ratio | average, [%] | NaN
|  | LCOE pv | kEUR/MWh | NaN
|  | Mean Self Sufficiency User 1 | % | 0.0
|  | Mean Self Sufficiency User 2 | % | 0.0
|  | Mean Self Sufficiency User 3 | % | 0.0
|  | Mean Self Sufficiency User 4 | % | 0.0
|  | Mean Self Sufficiency User 5 | % | 0.0
|  | Mean Self Sufficiency User 6 | % | 0.0
|  | Mean Self Sufficiency User 7 | % | 0.0
|  | Mean Self Sufficiency User 8 | % | 0.0
|  | Mean Self Sufficiency User 9 | % | 0.0
|  | Mean Self Sufficiency User 10 | % | 0.0
|  | Mean Self Sufficiency User 11 | % | 0.0
|  | Mean Self Sufficiency User 12 | % | 0.0
|  | Mean Self Sufficiency User 13 | % | 0.0
|  | Mean Self Sufficiency User 14 | % | 0.0
|  | Mean Self Sufficiency User 15 | % | 0.0
|  | Mean Self Sufficiency User 16 | % | 0.0
|  | Mean Self Sufficiency User 17 | % | 0.0
|  | Mean Self Sufficiency User 18 | % | 0.0
|  | Mean Self Sufficiency User 19 | % | 0.0
|  | Mean Self Sufficiency User 20 | % | 0.0
|  | Mean Self Sufficiency User 21 | % | 0.0
|  | Mean Self Consumption User 1 | % | NaN
|  | Mean Self Consumption User 2 | % | NaN
|  | Mean Self Consumption User 3 | % | NaN
|  | Mean Self Consumption User 4 | % | NaN
|  | Mean Self Consumption User 5 | % | NaN
|  | Mean Self Consumption User 6 | % | NaN
|  | Mean Self Consumption User 7 | % | NaN
|  | Mean Self Consumption User 8 | % | NaN
|  | Mean Self Consumption User 9 | % | NaN
|  | Mean Self Consumption User 10 | % | NaN
|  | Mean Self Consumption User 11 | % | NaN
|  | Mean Self Consumption User 12 | % | NaN
|  | Mean Self Consumption User 13 | % | NaN
|  | Mean Self Consumption User 14 | % | NaN
|  | Mean Self Consumption User 15 | % | NaN
|  | Mean Self Consumption User 16 | % | NaN
|  | Mean Self Consumption User 17 | % | NaN
|  | Mean Self Consumption User 18 | % | NaN
|  | Mean Self Consumption User 19 | % | NaN
|  | Mean Self Consumption User 20 | % | NaN
|  | Mean Self Consumption User 21 | % | NaN
|  | Mean Production Ratio User 1 | % | NaN
|  | Mean Production Ratio User 2 | % | NaN
|  | Mean Production Ratio User 3 | % | NaN
|  | Mean Production Ratio User 4 | % | NaN
|  | Mean Production Ratio User 5 | % | NaN
|  | Mean Production Ratio User 6 | % | NaN
|  | Mean Production Ratio User 7 | % | NaN
|  | Mean Production Ratio User 8 | % | NaN
|  | Mean Production Ratio User 9 | % | NaN
|  | Mean Production Ratio User 10 | % | NaN
|  | Mean Production Ratio User 11 | % | NaN
|  | Mean Production Ratio User 12 | % | NaN
|  | Mean Production Ratio User 13 | % | NaN
|  | Mean Production Ratio User 14 | % | NaN
|  | Mean Production Ratio User 15 | % | NaN
|  | Mean Production Ratio User 16 | % | NaN
|  | Mean Production Ratio User 17 | % | NaN
|  | Mean Production Ratio User 18 | % | NaN
|  | Mean Production Ratio User 19 | % | NaN
|  | Mean Production Ratio User 20 | % | NaN
|  | Mean Production Ratio User 21 | % | NaN
|  | Grid capacity | average, MVA | 1.261
|  | Energy bought from grid | MWh/year | 52400
|  | Energy sold to grid | MWh/year | 0
|  | Substation 1 capacity | MVA | 14.97
|  | Substation 2 capacity | MVA | 4.81
|  | loss | MWh/year | 53.41
|  | LCOE grid | kEUR/MWh | 0.4404
|  | Storage capacity | average, MWh | 0.3094
|  | Storage state | average, [-] | 0.1158
|  | CAPEX | M€/y | 0.3989
|  | OPEX | k€/y | 11.22
|  | UPVC | M€/y | 0
|  | UGCC | M€/y | 7.358
|  | UNEEC | M€/y | 15.72
|  | USS | % | 0
|  | USC | % | nan