## Sheet1
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 123.6
weight_V | 0.01 | Gap | % | 5.236
Storage_cost | 500 | Solve Time | sec. | 1200
PVCC | 200 | Time periods |  | 48
radiality | spanning_tree | Energy consumed |  | 16580
relax_voltage | FALSE | Peak Demand |  | 5.432
AMORT_DSO | 50 | Peak sub max |  | 5.429
network_reconfig | FALSE | Peak sub min |  | -1.207
PP | 7 | Nb lines built | - | 21
bilevel | TRUE | Nb substations | - | 1
days | 2 | Nb lines cond 1 | - | [2, 3, 4, 6, 7, 8, 11, 12, 14, 16, 17, 18, 19, 20, 22, 24, 26, 27, 28, 29, 32]
PVC | 500 | Nb lines cond 2 | - | Int64[]
storage | FALSE | Nb lines cond 3 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 4 | - | Int64[]
delta_t | 60 | DSO fixed line | kEUR | 154.2
DSOEC | 0.1 | DSO fixed sub | kEUR | 5720
SUB_COST | 1000 | DSO loss | kEUR | 305.2
EV | FALSE | DSO future value | kEUR | 108500
EEC | 0.1 | DSO revenues | kEUR | 108500
GCC | 80 | User | kEUR/year | 5874
EIC | 0.3 | PV | kEUR/year | 241.4
verbose | TRUE | Grid connection | kEUR/year | 2170
network_graph_name | network_graph_simu0 | Energy imported | kEUR/year | 3704
EHP | FALSE | Energy exported | kEUR/year | 242.1
PV_pen | 1 | PV capacity | MVA | 8.4
weight_I | 0.01 | PV penetration (v1) | %/year | 1.546
plot_file_name | plot_simu0 | PV penetration (v2) | %/year | 0.4012
Storage_eff | 0.9 | PV energy | MWh/year | 6651.0
Storage_pen | 1 | PV potential | MWh/year | 12980.0
PV_CAPA | 0.4 | Mean Global Self sufficiency/day | average, [%] | 0.2125
simu_name | simu_spanning_tree_0 | Mean Global Self Consumption/day | average, [%] | 0.422
IR_DSO | 0.06 | Mean Global Production ratio | average, [%] | 0.4201
AMORT_STORAGE | 15 | LCOE pv | kEUR/MWh | 0.0363
|  | Mean Self Sufficiency User 1 | % | 0.2142
|  | Mean Self Sufficiency User 2 | % | 0.2275
|  | Mean Self Sufficiency User 3 | % | 0.2145
|  | Mean Self Sufficiency User 4 | % | 0.2197
|  | Mean Self Sufficiency User 5 | % | 0.2119
|  | Mean Self Sufficiency User 6 | % | 0.1882
|  | Mean Self Sufficiency User 7 | % | 0.2002
|  | Mean Self Sufficiency User 8 | % | 0.1921
|  | Mean Self Sufficiency User 9 | % | 0.2241
|  | Mean Self Sufficiency User 10 | % | 0.2171
|  | Mean Self Sufficiency User 11 | % | 0.2154
|  | Mean Self Sufficiency User 12 | % | 0.209
|  | Mean Self Sufficiency User 13 | % | 0.243
|  | Mean Self Sufficiency User 14 | % | 0.1877
|  | Mean Self Sufficiency User 15 | % | 0.2421
|  | Mean Self Sufficiency User 16 | % | 0.2039
|  | Mean Self Sufficiency User 17 | % | 0.1882
|  | Mean Self Sufficiency User 18 | % | 0.2021
|  | Mean Self Sufficiency User 19 | % | 0.2063
|  | Mean Self Sufficiency User 20 | % | 0.1831
|  | Mean Self Sufficiency User 21 | % | 0.2728
|  | Mean Self Consumption User 1 | % | 0.3858
|  | Mean Self Consumption User 2 | % | 0.4612
|  | Mean Self Consumption User 3 | % | 0.4696
|  | Mean Self Consumption User 4 | % | 0.3836
|  | Mean Self Consumption User 5 | % | 0.3871
|  | Mean Self Consumption User 6 | % | 0.3946
|  | Mean Self Consumption User 7 | % | 0.3949
|  | Mean Self Consumption User 8 | % | 0.4073
|  | Mean Self Consumption User 9 | % | 0.4378
|  | Mean Self Consumption User 10 | % | 0.4406
|  | Mean Self Consumption User 11 | % | 0.4477
|  | Mean Self Consumption User 12 | % | 0.3815
|  | Mean Self Consumption User 13 | % | 0.4428
|  | Mean Self Consumption User 14 | % | 0.4728
|  | Mean Self Consumption User 15 | % | 0.3696
|  | Mean Self Consumption User 16 | % | 0.4466
|  | Mean Self Consumption User 17 | % | 0.4702
|  | Mean Self Consumption User 18 | % | 0.4366
|  | Mean Self Consumption User 19 | % | 0.457
|  | Mean Self Consumption User 20 | % | 0.4653
|  | Mean Self Consumption User 21 | % | 0.3085
|  | Mean Production Ratio User 1 | % | 0.4903
|  | Mean Production Ratio User 2 | % | 0.3734
|  | Mean Production Ratio User 3 | % | 0.3916
|  | Mean Production Ratio User 4 | % | 0.4967
|  | Mean Production Ratio User 5 | % | 0.4413
|  | Mean Production Ratio User 6 | % | 0.426
|  | Mean Production Ratio User 7 | % | 0.4487
|  | Mean Production Ratio User 8 | % | 0.4658
|  | Mean Production Ratio User 9 | % | 0.4021
|  | Mean Production Ratio User 10 | % | 0.3783
|  | Mean Production Ratio User 11 | % | 0.4136
|  | Mean Production Ratio User 12 | % | 0.4446
|  | Mean Production Ratio User 13 | % | 0.3796
|  | Mean Production Ratio User 14 | % | 0.4185
|  | Mean Production Ratio User 15 | % | 0.4038
|  | Mean Production Ratio User 16 | % | 0.4301
|  | Mean Production Ratio User 17 | % | 0.403
|  | Mean Production Ratio User 18 | % | 0.3684
|  | Mean Production Ratio User 19 | % | 0.4193
|  | Mean Production Ratio User 20 | % | 0.3908
|  | Mean Production Ratio User 21 | % | 0.4369
|  | Grid capacity | average, MVA | 0.4127
|  | Energy bought from grid | MWh/year | 12350
|  | Energy sold to grid | MWh/year | 2421
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 5.72
|  | loss | MWh/year | 29.07
|  | LCOE grid | kEUR/MWh | 0.4562
|  | CAPEX | M€/y | 0.1175
|  | OPEX | k€/y | 6.104
|  | UPVC | M€/y | 0.2414
|  | UGCC | M€/y | 2.17
|  | UNEEC | M€/y | 3.462
|  | USS | % | 0.2125
|  | USC | % | 0.422