## Sheet1
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 5.433
weight_V | 0.01 | Gap | % | 0.01818
Storage_cost | 300 | Solve Time | sec. | 0.3005
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 763
AMORT_DSO | 50 | Peak Demand | MW | 0.2913
network_reconfig | FALSE | Peak sub max | MW | 0.255
PP | 0.5 | Peak sub min | MW | -0.1297
bilevel | TRUE | Nb lines built | - | 2
days | 2 | Nb substations | - | 1
PVC | 500 | Nb lines cond 1 | - | [1, 3]
storage | FALSE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 60 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 2
SUB_COST | 1000 | DSO fixed sub | kEUR | 269.6
EV | FALSE | DSO loss | kEUR | 0.0621
EEC | 0.1 | DSO future value | kEUR | 5002
GCC | 80 | DSO revenues | kEUR | 5002
EIC | 0.3 | User | kEUR/year | 236.4
verbose | TRUE | PV | kEUR/year | 21.39
network_graph_name | network_graph_simu0 | Grid connection | kEUR/year | 100
EHP | FALSE | Energy imported | kEUR/year | 141.9
PV_pen | 1 | Energy exported | kEUR/year | 26.95
weight_I | 0.01 | PV capacity | MVA | 0.7862
plot_file_name | plot_simu0 | PV penetration (v1) | %/year | 2.699
Storage_eff | 0.98 | PV penetration (v2) | %/year | 0.7334
Storage_pen | 1 | PV energy | MWh/year | 559.5
PV_CAPA | 0.4 | PV potential | MWh/year | 1215.0
simu_name | simu_0 | Mean Global Self sufficiency/day | average, [%] | 0.2478
IR_DSO | 0.06 | Mean Global Self Consumption/day | average, [%] | 0.3861
AMORT_STORAGE | 15 | Mean Global Production ratio | average, [%] | 0.4047
|  | LCOE pv | kEUR/MWh | 0.03823
|  | Mean Self Sufficiency User 1 | % | 0.2436
|  | Mean Self Sufficiency User 2 | % | 0.252
|  | Mean Self Consumption User 1 | % | 0.3432
|  | Mean Self Consumption User 2 | % | 0.4291
|  | Mean Production Ratio User 1 | % | 0.4541
|  | Mean Production Ratio User 2 | % | 0.3553
|  | Grid capacity | average, MVA | 0.1613
|  | Energy bought from grid | MWh/year | 472.9
|  | Energy sold to grid | MWh/year | 269.5
|  | Substation 1 capacity | MVA | 0.2696
|  | Substation 2 capacity | MVA | 0
|  | loss | MWh/year | 0.005914
|  | LCOE grid | kEUR/MWh | 0.4546
|  | CAPEX | M€/y | 0.005431
|  | OPEX | k€/y | 0.001242
|  | UPVC | M€/y | 0.02139
|  | UGCC | M€/y | 0.1
|  | UNEEC | M€/y | 0.1149
|  | USS | % | 0.2478
|  | USC | % | 0.3861