## Sheet1
|  | Model |  | Single Level
AMORT_PV | 25 | Objective | kEUR/year | 836.6
weight_V | 0.01 | Gap | % | 0.1146
Storage_cost | 500 | Solve Time | sec. | 0.49
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 2435
AMORT_DSO | 50 | Peak Demand | MW | 1.064
network_reconfig | TRUE | Peak sub max | MW | 0.6837
PP | 0.5 | Peak sub min | MW | -0.2304
bilevel | FALSE | Nb lines built | - | 2
days | 2 | Nb substations | - | 1
PVC | 500 | Nb lines cond 1 | - | [1, 3]
storage | TRUE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 60 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 2
SUB_COST | 1000 | DSO fixed sub | kEUR | 738.2
EV | TRUE | DSO loss | kEUR | 0.606
EEC | 0.1 | DSO future value | kEUR | 13640
GCC | 80 | DSO revenues | kEUR | 13640
EIC | 0.3 | User | kEUR/year | 821.8
verbose | TRUE | PV | kEUR/year | 29.44
network_graph_name | network_graph_simu10 | Storage | kEUR/year | 55.79
EHP | TRUE | Grid connection | kEUR/year | 272.7
PV_pen | 1 | Energy imported | kEUR/year | 511.4
weight_I | 0.01 | Energy exported | kEUR/year | 47.55
plot_file_name | plot_simu10 | PV capacity | MVA | 0.8
Storage_eff | 0.98 | PV penetration (v1) | %/year | 0.7518
Storage_pen | 1 | PV penetration (v2) | %/year | 0.4951
PV_CAPA | 0.4 | PV energy | MWh/year | 1205.0
simu_name | simu_10 | PV potential | MWh/year | 1236.0
IR_DSO | 0.06 | Mean Global Self sufficiency/day | average, [%] | 0.3958
AMORT_STORAGE | 15 | Mean Global Self Consumption/day | average, [%] | 0.3636
|  | Mean Global Production ratio | average, [%] | 0.4969
|  | LCOE pv | kEUR/MWh | 0.02442
|  | Mean Self Sufficiency User 1 | % | 0.4178
|  | Mean Self Sufficiency User 2 | % | 0.3737
|  | Mean Self Consumption User 1 | % | 0.4183
|  | Mean Self Consumption User 2 | % | 0.3088
|  | Mean Production Ratio User 1 | % | 0.4973
|  | Mean Production Ratio User 2 | % | 0.4966
|  | Grid capacity | average, MVA | 0.3418
|  | Energy bought from grid | MWh/year | 1705
|  | Energy sold to grid | MWh/year | 475.5
|  | Substation 1 capacity | MVA | 0.7382
|  | Substation 2 capacity | MVA | 0
|  | loss | MWh/year | 0.05772
|  | LCOE grid | kEUR/MWh | 0.4321
|  | Storage capacity | average, MWh | 0.8368
|  | Storage state | average, [-] | 0.3708
|  | CAPEX | M€/y | 0.0148
|  | OPEX | k€/y | 0.01212
|  | UPVC | M€/y | 0.02944
|  | UGCC | M€/y | 0.2727
|  | UNEEC | M€/y | 0.4639
|  | USS | % | 0.3958
|  | USC | % | 0.3636