## Sheet1
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 300
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | FALSE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | FALSE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | FALSE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet2
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 291.8
weight_V | 0.01 | Gap | % | 20.29
Storage_cost | 300 | Solve Time | sec. | 1298
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 33150
AMORT_DSO | 50 | Peak Demand | MW | 10.86
network_reconfig | FALSE | Peak sub max | MW | 10.91
PP | 7 | Peak sub min | MW | -1.128
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 3, 7, 11, 12, 18, 19, 26, 29, 32]
storage | FALSE | Nb lines cond 2 | - | [14]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [13]
delta_t | 60 | Nb lines cond 4 | - | [6, 16, 17, 20, 22, 23, 25, 27, 28]
DSOEC | 0.1 | DSO fixed line | kEUR | 232.2
SUB_COST | 1000 | DSO fixed sub | kEUR | 11510
EV | TRUE | DSO loss | kEUR | 1019
EEC | 0.1 | DSO future value | kEUR | 217400
GCC | 80 | DSO revenues | kEUR | 217400
EIC | 0.3 | User | kEUR/year | 12460
verbose | TRUE | PV | kEUR/year | 273.2
EHP | FALSE | Grid connection | kEUR/year | 4348
PV_pen | 1 | Energy imported | kEUR/year | 8095
weight_I | 0.01 | Energy exported | kEUR/year | 251.9
Storage_eff | 0.98 | PV capacity | MVA | 8.4
Storage_pen | 1 | PV penetration (v1) | %/year | 0.7732
PV_CAPA | 0.4 | PV penetration (v2) | %/year | 0.2621
IR_DSO | 0.06 | PV energy | MWh/year | 8690.0
AMORT_STORAGE | 15 | PV potential | MWh/year | 12980.0
|  | Mean Global Self sufficiency/day | average, [%] | 0.1713
|  | Mean Global Self Consumption/day | average, [%] | 0.4455
|  | Mean Global Production ratio | average, [%] | 0.4498
|  | LCOE pv | kEUR/MWh | 0.03144
|  | Mean Self Sufficiency User 1 | % | 0.1661
|  | Mean Self Sufficiency User 2 | % | 0.1845
|  | Mean Self Sufficiency User 3 | % | 0.1705
|  | Mean Self Sufficiency User 4 | % | 0.1695
|  | Mean Self Sufficiency User 5 | % | 0.1846
|  | Mean Self Sufficiency User 6 | % | 0.1553
|  | Mean Self Sufficiency User 7 | % | 0.1522
|  | Mean Self Sufficiency User 8 | % | 0.1496
|  | Mean Self Sufficiency User 9 | % | 0.183
|  | Mean Self Sufficiency User 10 | % | 0.1826
|  | Mean Self Sufficiency User 11 | % | 0.1745
|  | Mean Self Sufficiency User 12 | % | 0.1651
|  | Mean Self Sufficiency User 13 | % | 0.1955
|  | Mean Self Sufficiency User 14 | % | 0.1459
|  | Mean Self Sufficiency User 15 | % | 0.1917
|  | Mean Self Sufficiency User 16 | % | 0.1552
|  | Mean Self Sufficiency User 17 | % | 0.1425
|  | Mean Self Sufficiency User 18 | % | 0.1739
|  | Mean Self Sufficiency User 19 | % | 0.1633
|  | Mean Self Sufficiency User 20 | % | 0.1543
|  | Mean Self Sufficiency User 21 | % | 0.2381
|  | Mean Self Consumption User 1 | % | 0.4417
|  | Mean Self Consumption User 2 | % | 0.4216
|  | Mean Self Consumption User 3 | % | 0.4426
|  | Mean Self Consumption User 4 | % | 0.4364
|  | Mean Self Consumption User 5 | % | 0.4296
|  | Mean Self Consumption User 6 | % | 0.4121
|  | Mean Self Consumption User 7 | % | 0.4096
|  | Mean Self Consumption User 8 | % | 0.4915
|  | Mean Self Consumption User 9 | % | 0.4698
|  | Mean Self Consumption User 10 | % | 0.4446
|  | Mean Self Consumption User 11 | % | 0.463
|  | Mean Self Consumption User 12 | % | 0.4521
|  | Mean Self Consumption User 13 | % | 0.4401
|  | Mean Self Consumption User 14 | % | 0.4327
|  | Mean Self Consumption User 15 | % | 0.4511
|  | Mean Self Consumption User 16 | % | 0.4754
|  | Mean Self Consumption User 17 | % | 0.4601
|  | Mean Self Consumption User 18 | % | 0.4633
|  | Mean Self Consumption User 19 | % | 0.45
|  | Mean Self Consumption User 20 | % | 0.4724
|  | Mean Self Consumption User 21 | % | 0.3956
|  | Mean Production Ratio User 1 | % | 0.4729
|  | Mean Production Ratio User 2 | % | 0.4372
|  | Mean Production Ratio User 3 | % | 0.4621
|  | Mean Production Ratio User 4 | % | 0.4983
|  | Mean Production Ratio User 5 | % | 0.4913
|  | Mean Production Ratio User 6 | % | 0.4719
|  | Mean Production Ratio User 7 | % | 0.4796
|  | Mean Production Ratio User 8 | % | 0.4435
|  | Mean Production Ratio User 9 | % | 0.429
|  | Mean Production Ratio User 10 | % | 0.4195
|  | Mean Production Ratio User 11 | % | 0.452
|  | Mean Production Ratio User 12 | % | 0.4292
|  | Mean Production Ratio User 13 | % | 0.435
|  | Mean Production Ratio User 14 | % | 0.4867
|  | Mean Production Ratio User 15 | % | 0.4113
|  | Mean Production Ratio User 16 | % | 0.4613
|  | Mean Production Ratio User 17 | % | 0.4381
|  | Mean Production Ratio User 18 | % | 0.3901
|  | Mean Production Ratio User 19 | % | 0.4689
|  | Mean Production Ratio User 20 | % | 0.422
|  | Mean Production Ratio User 21 | % | 0.4449
|  | Grid capacity | average, MVA | 0.832
|  | Energy bought from grid | MWh/year | 26980
|  | Energy sold to grid | MWh/year | 2519
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 11.51
|  | loss | MWh/year | 97.02
|  | LCOE grid | kEUR/MWh | 0.4518
|  | CAPEX | M€/y | 0.2349
|  | OPEX | k€/y | 20.37
|  | UPVC | M€/y | 0.2732
|  | UGCC | M€/y | 4.348
|  | UNEEC | M€/y | 7.843
|  | USS | % | 0.1713
|  | USC | % | 0.4455

## Sheet3
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 291.8
weight_V | 0.01 | Gap | % | 20.33
Storage_cost | 300 | Solve Time | sec. | 1200
PVCC | 200 | Time periods |  | 48
relax_voltage | FALSE | Energy consumed | MWh/year | 33150
AMORT_DSO | 50 | Peak Demand | MW | 10.86
network_reconfig | FALSE | Peak sub max | MW | 10.91
PP | 7 | Peak sub min | MW | -1.128
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 3, 7, 11, 12, 18, 19, 26, 29, 32]
storage | FALSE | Nb lines cond 2 | - | [14]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [13]
delta_t | 60 | Nb lines cond 4 | - | [6, 16, 17, 20, 22, 23, 25, 27, 28]
DSOEC | 0.1 | DSO fixed line | kEUR | 232.2
SUB_COST | 1000 | DSO fixed sub | kEUR | 11510
EV | TRUE | DSO loss | kEUR | 1019
EEC | 0.1 | DSO future value | kEUR | 217400
GCC | 80 | DSO revenues | kEUR | 217400
EIC | 0.3 | User | kEUR/year | 12460
verbose | TRUE | PV | kEUR/year | 273.2
EHP | FALSE | Grid connection | kEUR/year | 4348
PV_pen | 1 | Energy imported | kEUR/year | 8095
weight_I | 0.01 | Energy exported | kEUR/year | 251.9
Storage_eff | 0.98 | PV capacity | MVA | 8.4
Storage_pen | 1 | PV penetration (v1) | %/year | 0.7732
PV_CAPA | 0.4 | PV penetration (v2) | %/year | 0.2621
IR_DSO | 0.06 | PV energy | MWh/year | 8690.0
AMORT_STORAGE | 15 | PV potential | MWh/year | 12980.0
|  | Mean Global Self sufficiency/day | average, [%] | 0.1713
|  | Mean Global Self Consumption/day | average, [%] | 0.4455
|  | Mean Global Production ratio | average, [%] | 0.4498
|  | LCOE pv | kEUR/MWh | 0.03144
|  | Mean Self Sufficiency User 1 | % | 0.1661
|  | Mean Self Sufficiency User 2 | % | 0.1845
|  | Mean Self Sufficiency User 3 | % | 0.1705
|  | Mean Self Sufficiency User 4 | % | 0.1695
|  | Mean Self Sufficiency User 5 | % | 0.1846
|  | Mean Self Sufficiency User 6 | % | 0.1553
|  | Mean Self Sufficiency User 7 | % | 0.1522
|  | Mean Self Sufficiency User 8 | % | 0.1496
|  | Mean Self Sufficiency User 9 | % | 0.183
|  | Mean Self Sufficiency User 10 | % | 0.1826
|  | Mean Self Sufficiency User 11 | % | 0.1745
|  | Mean Self Sufficiency User 12 | % | 0.1651
|  | Mean Self Sufficiency User 13 | % | 0.1955
|  | Mean Self Sufficiency User 14 | % | 0.1459
|  | Mean Self Sufficiency User 15 | % | 0.1917
|  | Mean Self Sufficiency User 16 | % | 0.1552
|  | Mean Self Sufficiency User 17 | % | 0.1425
|  | Mean Self Sufficiency User 18 | % | 0.1739
|  | Mean Self Sufficiency User 19 | % | 0.1633
|  | Mean Self Sufficiency User 20 | % | 0.1543
|  | Mean Self Sufficiency User 21 | % | 0.2381
|  | Mean Self Consumption User 1 | % | 0.4417
|  | Mean Self Consumption User 2 | % | 0.4216
|  | Mean Self Consumption User 3 | % | 0.4426
|  | Mean Self Consumption User 4 | % | 0.4364
|  | Mean Self Consumption User 5 | % | 0.4296
|  | Mean Self Consumption User 6 | % | 0.4121
|  | Mean Self Consumption User 7 | % | 0.4096
|  | Mean Self Consumption User 8 | % | 0.4915
|  | Mean Self Consumption User 9 | % | 0.4698
|  | Mean Self Consumption User 10 | % | 0.4446
|  | Mean Self Consumption User 11 | % | 0.463
|  | Mean Self Consumption User 12 | % | 0.4521
|  | Mean Self Consumption User 13 | % | 0.4401
|  | Mean Self Consumption User 14 | % | 0.4327
|  | Mean Self Consumption User 15 | % | 0.4511
|  | Mean Self Consumption User 16 | % | 0.4754
|  | Mean Self Consumption User 17 | % | 0.4601
|  | Mean Self Consumption User 18 | % | 0.4633
|  | Mean Self Consumption User 19 | % | 0.45
|  | Mean Self Consumption User 20 | % | 0.4724
|  | Mean Self Consumption User 21 | % | 0.3956
|  | Mean Production Ratio User 1 | % | 0.4729
|  | Mean Production Ratio User 2 | % | 0.4372
|  | Mean Production Ratio User 3 | % | 0.4621
|  | Mean Production Ratio User 4 | % | 0.4983
|  | Mean Production Ratio User 5 | % | 0.4913
|  | Mean Production Ratio User 6 | % | 0.4719
|  | Mean Production Ratio User 7 | % | 0.4796
|  | Mean Production Ratio User 8 | % | 0.4435
|  | Mean Production Ratio User 9 | % | 0.429
|  | Mean Production Ratio User 10 | % | 0.4195
|  | Mean Production Ratio User 11 | % | 0.452
|  | Mean Production Ratio User 12 | % | 0.4292
|  | Mean Production Ratio User 13 | % | 0.435
|  | Mean Production Ratio User 14 | % | 0.4867
|  | Mean Production Ratio User 15 | % | 0.4113
|  | Mean Production Ratio User 16 | % | 0.4613
|  | Mean Production Ratio User 17 | % | 0.4381
|  | Mean Production Ratio User 18 | % | 0.3901
|  | Mean Production Ratio User 19 | % | 0.4689
|  | Mean Production Ratio User 20 | % | 0.422
|  | Mean Production Ratio User 21 | % | 0.4449
|  | Grid capacity | average, MVA | 0.832
|  | Energy bought from grid | MWh/year | 26980
|  | Energy sold to grid | MWh/year | 2519
|  | Substation 1 capacity | MVA | 0
|  | Substation 2 capacity | MVA | 11.51
|  | loss | MWh/year | 97.02
|  | LCOE grid | kEUR/MWh | 0.4518
|  | CAPEX | M€/y | 0.2349
|  | OPEX | k€/y | 20.37
|  | UPVC | M€/y | 0.2732
|  | UGCC | M€/y | 4.348
|  | UNEEC | M€/y | 7.843
|  | USS | % | 0.1713
|  | USC | % | 0.4455

## Sheet4
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 300
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | FALSE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet5
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 300
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet6
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 150
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet7
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet8
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | FALSE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet9
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet10
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | TRUE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet11
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet12
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.4
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet13
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet14
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 0.8
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet15
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet16
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 500
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet17
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 150
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet18
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet19
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.3
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet20
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.6
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet21
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet22
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.1
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet23
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.2
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet24
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet25
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.1
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet26
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.2
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet27
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet28
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 80
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet29
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 120
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet30
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 160
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet31
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 160
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.01
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet32
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 160
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.001
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet33
failure
AMORT_PV | 25
weight_V | 0.01
Storage_cost | 500
PVCC | 200
relax_voltage | FALSE
AMORT_DSO | 50
network_reconfig | TRUE
PP | 7
bilevel | FALSE
days | 2
PVC | 300
storage | TRUE
AMORT_PV_CONV | 10
delta_t | 60
DSOEC | 0.3
SUB_COST | 1000
EV | TRUE
EEC | 0.3
GCC | 160
EIC | 0.9
verbose | TRUE
EHP | TRUE
PV_pen | 1
weight_I | 0.1
Storage_eff | 0.98
Storage_pen | 1
PV_CAPA | 1.6
IR_DSO | 0.06
AMORT_STORAGE | 15

## Sheet34
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 75.95
weight_V | 0.01 | Gap | % | 29.6
Storage_cost | 300 | Solve Time | sec. | 330.1
PVCC | 200 | Time periods |  | 4
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 3.057
network_reconfig | FALSE | Peak sub max | MW | 2.305
PP | 7 | Peak sub min | MW | -0.8329
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [1, 4, 9, 11, 12, 13, 14, 16, 17, 18, 19, 20, 22, 25, 29, 32]
storage | FALSE | Nb lines cond 2 | - | [24, 26, 27]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | [2, 28]
delta_t | 720 | Nb lines cond 4 | - | Int64[]
DSOEC | 0.1 | DSO fixed line | kEUR | 164.3
SUB_COST | 1000 | DSO fixed sub | kEUR | 2516
EV | FALSE | DSO loss | kEUR | 935.3
EEC | 0.1 | DSO future value | kEUR | 50300
GCC | 80 | DSO revenues | kEUR | 50300
EIC | 0.3 | User | kEUR/year | 2846
verbose | TRUE | PV | kEUR/year | 209.9
network_graph_name | hello | Grid connection | kEUR/year | 1006
EHP | FALSE | Energy imported | kEUR/year | 1832
PV_pen | 1 | Energy exported | kEUR/year | 202.6
weight_I | 0.01 | PV capacity | MVA | 8.195
Storage_eff | 0.98 | PV penetration (v1) | %/year | 2.681
Storage_pen | 1 | PV penetration (v2) | %/year | 0.7537
PV_CAPA | 0.4 | PV energy | MWh/year | 12490.0
IR_DSO | 0.06 | PV potential | MWh/year | 37890.0
AMORT_STORAGE | 15 | Mean Global Self sufficiency/day | average, [%] | 0.3807
|  | Mean Global Self Consumption/day | average, [%] | 0.4353
|  | Mean Global Production ratio | average, [%] | 0.3146
|  | LCOE pv | kEUR/MWh | 0.0168
|  | Mean Self Sufficiency User 1 | % | 0.3999
|  | Mean Self Sufficiency User 2 | % | 0.394
|  | Mean Self Sufficiency User 3 | % | 0.3875
|  | Mean Self Sufficiency User 4 | % | 0.4262
|  | Mean Self Sufficiency User 5 | % | 0.3808
|  | Mean Self Sufficiency User 6 | % | 0.328
|  | Mean Self Sufficiency User 7 | % | 0.3331
|  | Mean Self Sufficiency User 8 | % | 0.3574
|  | Mean Self Sufficiency User 9 | % | 0.389
|  | Mean Self Sufficiency User 10 | % | 0.4311
|  | Mean Self Sufficiency User 11 | % | 0.4327
|  | Mean Self Sufficiency User 12 | % | 0.35
|  | Mean Self Sufficiency User 13 | % | 0.4081
|  | Mean Self Sufficiency User 14 | % | 0.3432
|  | Mean Self Sufficiency User 15 | % | 0.4015
|  | Mean Self Sufficiency User 16 | % | 0.3302
|  | Mean Self Sufficiency User 17 | % | 0.4028
|  | Mean Self Sufficiency User 18 | % | 0.3163
|  | Mean Self Sufficiency User 19 | % | 0.377
|  | Mean Self Sufficiency User 20 | % | 0.3061
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.4384
|  | Mean Self Consumption User 2 | % | 0.445
|  | Mean Self Consumption User 3 | % | 0.4237
|  | Mean Self Consumption User 4 | % | 0.4494
|  | Mean Self Consumption User 5 | % | 0.4183
|  | Mean Self Consumption User 6 | % | 0.4499
|  | Mean Self Consumption User 7 | % | 0.4854
|  | Mean Self Consumption User 8 | % | 0.4339
|  | Mean Self Consumption User 9 | % | 0.4969
|  | Mean Self Consumption User 10 | % | 0.4154
|  | Mean Self Consumption User 11 | % | 0.3881
|  | Mean Self Consumption User 12 | % | 0.3979
|  | Mean Self Consumption User 13 | % | 0.3597
|  | Mean Self Consumption User 14 | % | 0.4325
|  | Mean Self Consumption User 15 | % | 0.429
|  | Mean Self Consumption User 16 | % | 0.4941
|  | Mean Self Consumption User 17 | % | 0.4444
|  | Mean Self Consumption User 18 | % | 0.4181
|  | Mean Self Consumption User 19 | % | 0.4603
|  | Mean Self Consumption User 20 | % | 0.479
|  | Mean Self Consumption User 21 | % | 0.383
|  | Mean Production Ratio User 1 | % | 0.316
|  | Mean Production Ratio User 2 | % | 0.2761
|  | Mean Production Ratio User 3 | % | 0.3199
|  | Mean Production Ratio User 4 | % | 0.3485
|  | Mean Production Ratio User 5 | % | 0.3217
|  | Mean Production Ratio User 6 | % | 0.3188
|  | Mean Production Ratio User 7 | % | 0.3046
|  | Mean Production Ratio User 8 | % | 0.326
|  | Mean Production Ratio User 9 | % | 0.2798
|  | Mean Production Ratio User 10 | % | 0.2993
|  | Mean Production Ratio User 11 | % | 0.4099
|  | Mean Production Ratio User 12 | % | 0.3085
|  | Mean Production Ratio User 13 | % | 0.3168
|  | Mean Production Ratio User 14 | % | 0.3815
|  | Mean Production Ratio User 15 | % | 0.2639
|  | Mean Production Ratio User 16 | % | 0.2994
|  | Mean Production Ratio User 17 | % | 0.3003
|  | Mean Production Ratio User 18 | % | 0.2916
|  | Mean Production Ratio User 19 | % | 0.3108
|  | Mean Production Ratio User 20 | % | 0.284
|  | Mean Production Ratio User 21 | % | 0.3285
|  | Grid capacity | average, MVA | 0.1147
|  | Energy bought from grid | MWh/year | 6108
|  | Energy sold to grid | MWh/year | 2026
|  | Substation 1 capacity | MVA | 0.456
|  | Substation 2 capacity | MVA | 2.06
|  | loss | MWh/year | 89.07
|  | LCOE grid | kEUR/MWh | 0.4315
|  | CAPEX | M€/y | 0.0536
|  | OPEX | k€/y | 18.71
|  | UPVC | M€/y | 0.2099
|  | UGCC | M€/y | 1.006
|  | UNEEC | M€/y | 1.63
|  | USS | % | 0.3807
|  | USC | % | 0.4353

## Sheet35
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 33.45
weight_V | 0.01 | Gap | % | 0.9007
Storage_cost | 300 | Solve Time | sec. | 2.932
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | TRUE | Peak sub max | MW | 1.334
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [2, 3, 4, 6, 7, 8, 10, 11, 14, 16, 17, 18, 19, 20, 22, 26, 27, 28, 29, 32]
storage | FALSE | Nb lines cond 2 | - | Int64[]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 1440 | Nb lines cond 4 | - | [1]
DSOEC | 0.1 | DSO fixed line | kEUR | 150.2
SUB_COST | 1000 | DSO fixed sub | kEUR | 1509
EV | FALSE | DSO loss | kEUR | 13.12
EEC | 0.1 | DSO future value | kEUR | 30580
GCC | 80 | DSO revenues | kEUR | 34900
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | hello | Grid connection | kEUR/year | 698
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 0
weight_I | 0.01 | PV capacity | MVA | 8.142
Storage_eff | 0.98 | PV penetration (v1) | %/year | 3.791
Storage_pen | 1 | PV penetration (v2) | %/year | 0.6476
PV_CAPA | 0.4 | PV energy | MWh/year | 10740.0
IR_DSO | 0.06 | PV potential | MWh/year | 39230.0
AMORT_STORAGE | 15 | Mean Global Self sufficiency/day | average, [%] | 0.3632
|  | Mean Global Self Consumption/day | average, [%] | 0.5
|  | Mean Global Production ratio | average, [%] | 0.3013
|  | LCOE pv | kEUR/MWh | 0.01825
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.5
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.5
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2695
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 0
|  | Substation 1 capacity | MVA | 1.14
|  | Substation 2 capacity | MVA | 0.3694
|  | loss | MWh/year | 1.249
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03319
|  | OPEX | k€/y | 0.2623
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.698
|  | UNEEC | M€/y | 1.753
|  | USS | % | 0.3632
|  | USC | % | 0.5

## Sheet36
|  | Model |  | Bilevel
AMORT_PV | 25 | Objective | kEUR/year | 34.01
weight_V | 0.01 | Gap | % | 2.093
Storage_cost | 300 | Solve Time | sec. | 90.33
PVCC | 200 | Time periods |  | 2
relax_voltage | FALSE | Energy consumed | MWh/year | 16580
AMORT_DSO | 50 | Peak Demand | MW | 2.148
network_reconfig | FALSE | Peak sub max | MW | 1.334
PP | 7 | Peak sub min | MW | 0
bilevel | TRUE | Nb lines built | - | 21
days | 2 | Nb substations | - | 2
PVC | 500 | Nb lines cond 1 | - | [4, 5, 6, 8, 9, 11, 13, 14, 16, 18, 19, 20, 22, 24, 25, 27, 29, 32]
storage | FALSE | Nb lines cond 2 | - | [1, 26]
AMORT_PV_CONV | 10 | Nb lines cond 3 | - | Int64[]
delta_t | 1440 | Nb lines cond 4 | - | [28]
DSOEC | 0.1 | DSO fixed line | kEUR | 163.2
SUB_COST | 1000 | DSO fixed sub | kEUR | 1510
EV | FALSE | DSO loss | kEUR | 27.55
EEC | 0.1 | DSO future value | kEUR | 30850
GCC | 80 | DSO revenues | kEUR | 34900
EIC | 0.3 | User | kEUR/year | 2646
verbose | TRUE | PV | kEUR/year | 196
network_graph_name | hell2o | Grid connection | kEUR/year | 698
EHP | FALSE | Energy imported | kEUR/year | 1753
PV_pen | 1 | Energy exported | kEUR/year | 0.03669
weight_I | 0.01 | PV capacity | MVA | 8.142
Storage_eff | 0.98 | PV penetration (v1) | %/year | 3.791
Storage_pen | 1 | PV penetration (v2) | %/year | 0.6476
PV_CAPA | 0.4 | PV energy | MWh/year | 10740.0
IR_DSO | 0.06 | PV potential | MWh/year | 39230.0
AMORT_STORAGE | 15 | Mean Global Self sufficiency/day | average, [%] | 0.3632
|  | Mean Global Self Consumption/day | average, [%] | 0.5
|  | Mean Global Production ratio | average, [%] | 0.3013
|  | LCOE pv | kEUR/MWh | 0.01825
|  | Mean Self Sufficiency User 1 | % | 0.3437
|  | Mean Self Sufficiency User 2 | % | 0.3896
|  | Mean Self Sufficiency User 3 | % | 0.3524
|  | Mean Self Sufficiency User 4 | % | 0.4261
|  | Mean Self Sufficiency User 5 | % | 0.3608
|  | Mean Self Sufficiency User 6 | % | 0.3225
|  | Mean Self Sufficiency User 7 | % | 0.3242
|  | Mean Self Sufficiency User 8 | % | 0.3571
|  | Mean Self Sufficiency User 9 | % | 0.3395
|  | Mean Self Sufficiency User 10 | % | 0.4164
|  | Mean Self Sufficiency User 11 | % | 0.438
|  | Mean Self Sufficiency User 12 | % | 0.3431
|  | Mean Self Sufficiency User 13 | % | 0.3702
|  | Mean Self Sufficiency User 14 | % | 0.3437
|  | Mean Self Sufficiency User 15 | % | 0.3481
|  | Mean Self Sufficiency User 16 | % | 0.3123
|  | Mean Self Sufficiency User 17 | % | 0.3529
|  | Mean Self Sufficiency User 18 | % | 0.3058
|  | Mean Self Sufficiency User 19 | % | 0.3817
|  | Mean Self Sufficiency User 20 | % | 0.2982
|  | Mean Self Sufficiency User 21 | % | 0.5
|  | Mean Self Consumption User 1 | % | 0.5
|  | Mean Self Consumption User 2 | % | 0.4996
|  | Mean Self Consumption User 3 | % | 0.5
|  | Mean Self Consumption User 4 | % | 0.5
|  | Mean Self Consumption User 5 | % | 0.5
|  | Mean Self Consumption User 6 | % | 0.5
|  | Mean Self Consumption User 7 | % | 0.5
|  | Mean Self Consumption User 8 | % | 0.5
|  | Mean Self Consumption User 9 | % | 0.5
|  | Mean Self Consumption User 10 | % | 0.5
|  | Mean Self Consumption User 11 | % | 0.5
|  | Mean Self Consumption User 12 | % | 0.5
|  | Mean Self Consumption User 13 | % | 0.5
|  | Mean Self Consumption User 14 | % | 0.5
|  | Mean Self Consumption User 15 | % | 0.4997
|  | Mean Self Consumption User 16 | % | 0.5
|  | Mean Self Consumption User 17 | % | 0.5
|  | Mean Self Consumption User 18 | % | 0.5
|  | Mean Self Consumption User 19 | % | 0.5
|  | Mean Self Consumption User 20 | % | 0.5
|  | Mean Self Consumption User 21 | % | 0.5
|  | Mean Production Ratio User 1 | % | 0.3062
|  | Mean Production Ratio User 2 | % | 0.2695
|  | Mean Production Ratio User 3 | % | 0.2965
|  | Mean Production Ratio User 4 | % | 0.3269
|  | Mean Production Ratio User 5 | % | 0.2962
|  | Mean Production Ratio User 6 | % | 0.3027
|  | Mean Production Ratio User 7 | % | 0.2993
|  | Mean Production Ratio User 8 | % | 0.3036
|  | Mean Production Ratio User 9 | % | 0.2781
|  | Mean Production Ratio User 10 | % | 0.2835
|  | Mean Production Ratio User 11 | % | 0.37
|  | Mean Production Ratio User 12 | % | 0.2832
|  | Mean Production Ratio User 13 | % | 0.2882
|  | Mean Production Ratio User 14 | % | 0.3474
|  | Mean Production Ratio User 15 | % | 0.2684
|  | Mean Production Ratio User 16 | % | 0.2962
|  | Mean Production Ratio User 17 | % | 0.3218
|  | Mean Production Ratio User 18 | % | 0.2768
|  | Mean Production Ratio User 19 | % | 0.299
|  | Mean Production Ratio User 20 | % | 0.2801
|  | Mean Production Ratio User 21 | % | 0.3327
|  | Grid capacity | average, MVA | 0.06775
|  | Energy bought from grid | MWh/year | 5842
|  | Energy sold to grid | MWh/year | 0.3669
|  | Substation 1 capacity | MVA | 0.5742
|  | Substation 2 capacity | MVA | 0.9356
|  | loss | MWh/year | 2.623
|  | LCOE grid | kEUR/MWh | 0.4195
|  | CAPEX | M€/y | 0.03346
|  | OPEX | k€/y | 0.5509
|  | UPVC | M€/y | 0.196
|  | UGCC | M€/y | 0.698
|  | UNEEC | M€/y | 1.752
|  | USS | % | 0.3632
|  | USC | % | 0.5