## Sheet1
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 5898 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.651 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 1.427 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 713.2 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 32.66 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13170 | kEUR
|  | DSO revenues | 97570 | kEUR
|  | User | 5825 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 1951 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 43.42 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 549.2 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 434.2 | MWh/year
|  | Substation capacity | 5.651 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 6.532 | MWh/year
|  | LCOE pv | 0.05193 | kEUR/MWh
|  | LCOE grid | 0.4724 | kEUR/MWh
significant differences with bilevel

## Sheet2
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.001 | Objective | 5895 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.649 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 2.148 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 712.9 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 14.94 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13150 | kEUR
|  | DSO revenues | 97590 | kEUR
|  | User | 5825 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 1952 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 43.73 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 549.6 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 437.3 | MWh/year
|  | Substation capacity | 5.649 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 2.988 | MWh/year
|  | LCOE pv | 0.0519 | kEUR/MWh
|  | LCOE grid | 0.4725 | kEUR/MWh

## Sheet3
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.1 | Objective | 5840 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.652 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 3.861 | MVA on 1 DT | bizarre
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 721.4 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 37.85 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13330 | kEUR
|  | DSO revenues | 97550 | kEUR
|  | User | 5825 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 1951 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 43.03 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 548.7 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 430.3 | MWh/year
|  | Substation capacity | 5.652 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 7.57 | MWh/year
|  | LCOE pv | 0.05198 | kEUR/MWh
|  | LCOE grid | 0.4722 | kEUR/MWh

## Sheet4
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 13230 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 33200 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 9.83 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 6.82 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1154 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 178.6 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 21440 | kEUR
|  | DSO revenues | 223900 | kEUR
|  | User | 13200 | kEUR/year
|  | PV | 252.7 | kEUR/year
|  | Grid connection | 4478 | kEUR/year
|  | Energy imported | 8558 | kEUR/year
|  | Energy exported | 87.26 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 660 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 28530 | MWh/year
|  | Energy sold to grid | 872.6 | MWh/year
|  | Substation capacity | 10.05 | MVA
|  | self sufficiency | 0.4037 | average, [-]
|  | self consumption | 0.7398 | average, [-]
|  | loss | 35.72 | MWh/year
|  | LCOE pv | 0.04559 | kEUR/MWh
|  | LCOE grid | 0.4683 | kEUR/MWh

## Sheet5
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 14740 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 36350 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 16.01 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 6.444 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1835 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 148.7 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 33950 | kEUR
|  | DSO revenues | 243400 | kEUR
|  | User | 14700 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 4869 | kEUR/year
|  | Energy imported | 9632 | kEUR/year
|  | Energy exported | 36.7 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 548.9 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 32110 | MWh/year
|  | Energy sold to grid | 367 | MWh/year
|  | Substation capacity | 16.63 | MVA
|  | self sufficiency | 0.3665 | average, [-]
|  | self consumption | 0.7367 | average, [-]
|  | loss | 29.74 | MWh/year
|  | LCOE pv | 0.05196 | kEUR/MWh
|  | LCOE grid | 0.4557 | kEUR/MWh

## Sheet6
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 21720 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 53110 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 18.94 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 10.63 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 1 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 2082 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 615.6 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 38970 | kEUR
|  | DSO revenues | 349100 | kEUR
|  | User | 21660 | kEUR/year
|  | PV | 252.7 | kEUR/year
|  | Grid connection | 6982 | kEUR/year
|  | Energy imported | 14510 | kEUR/year
|  | Energy exported | 84.96 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 665 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 48380 | MWh/year
|  | Energy sold to grid | 849.6 | MWh/year
|  | Substation capacity | 18.94 | MVA
|  | self sufficiency | 0.3476 | average, [-]
|  | self consumption | 0.7539 | average, [-]
|  | loss | 123.1 | MWh/year
|  | LCOE pv | 0.04524 | kEUR/MWh
|  | LCOE grid | 0.4505 | kEUR/MWh

## Sheet7
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 7298 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.691 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0 | Peak sub min | 4.565 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 761 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 137.1 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 14160 | kEUR
|  | DSO revenues | 117400 | kEUR
|  | User | 7280 | kEUR/year
|  | PV | 0 | kEUR/year
|  | Grid connection | 2349 | kEUR/year
|  | Energy imported | 4931 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 0 | MVA
|  | PV production | NaN | MWh/MVA/year
|  | PV potential | NaN | MWh/MVA/year
|  | Energy bought from grid | 16440 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 5.691 | MVA
|  | self sufficiency | 0 | average, [-]
|  | self consumption | NaN | average, [-]
|  | loss | 27.43 | MWh/year
|  | LCOE pv | NaN | kEUR/MWh
|  | LCOE grid | 0.4429 | kEUR/MWh

## Sheet8
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 14860 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 33200 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 9.715 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0 | Peak sub min | 7.169 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1162 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 203.1 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 21610 | kEUR
|  | DSO revenues | 243600 | kEUR
|  | User | 14830 | kEUR/year
|  | PV | 0 | kEUR/year
|  | Grid connection | 4871 | kEUR/year
|  | Energy imported | 9959 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 0 | MVA
|  | PV production | NaN | MWh/MVA/year
|  | PV potential | NaN | MWh/MVA/year
|  | Energy bought from grid | 33200 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 10.06 | MVA
|  | self sufficiency | 0 | average, [-]
|  | self consumption | NaN | average, [-]
|  | loss | 40.62 | MWh/year
|  | LCOE pv | NaN | kEUR/MWh
|  | LCOE grid | 0.4467 | kEUR/MWh

## Sheet9
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 16230 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 36350 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 15.69 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0 | Peak sub min | 11.63 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1791 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 432.7 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 33420 | kEUR
|  | DSO revenues | 264000 | kEUR
|  | User | 16190 | kEUR/year
|  | PV | 0 | kEUR/year
|  | Grid connection | 5281 | kEUR/year
|  | Energy imported | 10910 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 0 | MVA
|  | PV production | NaN | MWh/MVA/year
|  | PV potential | NaN | MWh/MVA/year
|  | Energy bought from grid | 36350 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 15.78 | MVA
|  | self sufficiency | 0 | average, [-]
|  | self consumption | NaN | average, [-]
|  | loss | 86.54 | MWh/year
|  | LCOE pv | NaN | kEUR/MWh
|  | LCOE grid | 0.4453 | kEUR/MWh

## Sheet10
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 23360 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 53110 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 19.27 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0 | Peak sub min | 12.15 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 2138 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 245.1 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 39630 | kEUR
|  | DSO revenues | 369200 | kEUR
|  | User | 23320 | kEUR/year
|  | PV | 0 | kEUR/year
|  | Grid connection | 7383 | kEUR/year
|  | Energy imported | 15930 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 0 | MVA
|  | PV production | NaN | MWh/MVA/year
|  | PV potential | NaN | MWh/MVA/year
|  | Energy bought from grid | 53110 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 19.52 | MVA
|  | self sufficiency | 0 | average, [-]
|  | self consumption | NaN | average, [-]
|  | loss | 49.02 | MWh/year
|  | LCOE pv | NaN | kEUR/MWh
|  | LCOE grid | 0.439 | kEUR/MWh

## Sheet11
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 5540 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.63 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.8 | Peak sub min | 0.5688 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 711 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 32.67 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13130 | kEUR
|  | DSO revenues | 92630 | kEUR
|  | User | 5525 | kEUR/year
|  | PV | 404.6 | kEUR/year
|  | Grid connection | 1853 | kEUR/year
|  | Energy imported | 3331 | kEUR/year
|  | Energy exported | 63.28 | kEUR/year
|  | PV penetration | 15.93 | MVA
|  | PV production | 374.6 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 11100 | MWh/year
|  | Energy sold to grid | 632.8 | MWh/year
|  | Substation capacity | 5.63 | MVA
|  | self sufficiency | 0.4935 | average, [-]
|  | self consumption | 0.6288 | average, [-]
|  | loss | 6.535 | MWh/year
|  | LCOE pv | 0.06782 | kEUR/MWh
|  | LCOE grid | 0.489 | kEUR/MWh

## Sheet12
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 12860 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 33200 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 9.217 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.8 | Peak sub min | 2.332 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1223 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 127.3 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 22660 | kEUR
|  | DSO revenues | 216400 | kEUR
|  | User | 12730 | kEUR/year
|  | PV | 446.7 | kEUR/year
|  | Grid connection | 4328 | kEUR/year
|  | Energy imported | 8066 | kEUR/year
|  | Energy exported | 113.5 | kEUR/year
|  | PV penetration | 16.5 | MVA
|  | PV production | 451.3 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 26890 | MWh/year
|  | Energy sold to grid | 1135 | MWh/year
|  | Substation capacity | 10.75 | MVA
|  | self sufficiency | 0.4704 | average, [-]
|  | self consumption | 0.6438 | average, [-]
|  | loss | 25.45 | MWh/year
|  | LCOE pv | 0.06 | kEUR/MWh
|  | LCOE grid | 0.4769 | kEUR/MWh

## Sheet13
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 14320 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 36350 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 15.42 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.8 | Peak sub min | 5.931 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1729 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 220.8 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 32060 | kEUR
|  | DSO revenues | 236300 | kEUR
|  | User | 14280 | kEUR/year
|  | PV | 422.1 | kEUR/year
|  | Grid connection | 4726 | kEUR/year
|  | Energy imported | 9195 | kEUR/year
|  | Energy exported | 62.06 | kEUR/year
|  | PV penetration | 16.8 | MVA
|  | PV production | 376.4 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 30650 | MWh/year
|  | Energy sold to grid | 620.6 | MWh/year
|  | Substation capacity | 15.45 | MVA
|  | self sufficiency | 0.4209 | average, [-]
|  | self consumption | 0.6558 | average, [-]
|  | loss | 44.16 | MWh/year
|  | LCOE pv | 0.06675 | kEUR/MWh
|  | LCOE grid | 0.4615 | kEUR/MWh

## Sheet14
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 21140 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 53110 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 18.98 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.8 | Peak sub min | 10.38 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 2133 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 336.5 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 39630 | kEUR
|  | DSO revenues | 339500 | kEUR
|  | User | 21090 | kEUR/year
|  | PV | 452.7 | kEUR/year
|  | Grid connection | 6789 | kEUR/year
|  | Energy imported | 13940 | kEUR/year
|  | Energy exported | 95.24 | kEUR/year
|  | PV penetration | 16.8 | MVA
|  | PV production | 452.1 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 46470 | MWh/year
|  | Energy sold to grid | 952.4 | MWh/year
|  | Substation capacity | 19.25 | MVA
|  | self sufficiency | 0.4011 | average, [-]
|  | self consumption | 0.6767 | average, [-]
|  | loss | 67.29 | MWh/year
|  | LCOE pv | 0.05961 | kEUR/MWh
|  | LCOE grid | 0.4533 | kEUR/MWh

## Sheet15
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 5353 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.6 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 1.6 | Peak sub min | 3.711 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 717.6 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 53.62 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13270 | kEUR
|  | DSO revenues | 88200 | kEUR
|  | User | 5337 | kEUR/year
|  | PV | 660.7 | kEUR/year
|  | Grid connection | 1764 | kEUR/year
|  | Energy imported | 3001 | kEUR/year
|  | Energy exported | 89.03 | kEUR/year
|  | PV penetration | 28.13 | MVA
|  | PV production | 260.2 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 10000 | MWh/year
|  | Energy sold to grid | 890.3 | MWh/year
|  | Substation capacity | 5.6 | MVA
|  | self sufficiency | 0.539 | average, [-]
|  | self consumption | 0.549 | average, [-]
|  | loss | 10.72 | MWh/year
|  | LCOE pv | 0.09024 | kEUR/MWh
|  | LCOE grid | 0.5131 | kEUR/MWh

## Sheet16
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 12350 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 33200 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 9.802 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 1.6 | Peak sub min | 7.378 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1154 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 179.3 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 21440 | kEUR
|  | DSO revenues | 208400 | kEUR
|  | User | 12330 | kEUR/year
|  | PV | 771.5 | kEUR/year
|  | Grid connection | 4168 | kEUR/year
|  | Energy imported | 7542 | kEUR/year
|  | Energy exported | 153.3 | kEUR/year
|  | PV penetration | 31.27 | MVA
|  | PV production | 306.7 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 25140 | MWh/year
|  | Energy sold to grid | 1533 | MWh/year
|  | Substation capacity | 10.04 | MVA
|  | self sufficiency | 0.5226 | average, [-]
|  | self consumption | 0.5549 | average, [-]
|  | loss | 35.86 | MWh/year
|  | LCOE pv | 0.08043 | kEUR/MWh
|  | LCOE grid | 0.4896 | kEUR/MWh

## Sheet17
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 13850 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 36350 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 15.38 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 1.6 | Peak sub min | 8.743 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 1 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 1714 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 339.3 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 31910 | kEUR
|  | DSO revenues | 228600 | kEUR
|  | User | 13800 | kEUR/year
|  | PV | 775.1 | kEUR/year
|  | Grid connection | 4572 | kEUR/year
|  | Energy imported | 8603 | kEUR/year
|  | Energy exported | 148.6 | kEUR/year
|  | PV penetration | 33.6 | MVA
|  | PV production | 272.7 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 28680 | MWh/year
|  | Energy sold to grid | 1486 | MWh/year
|  | Substation capacity | 15.38 | MVA
|  | self sufficiency | 0.47 | average, [-]
|  | self consumption | 0.5763 | average, [-]
|  | loss | 67.86 | MWh/year
|  | LCOE pv | 0.0846 | kEUR/MWh
|  | LCOE grid | 0.4791 | kEUR/MWh

## Sheet18
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 20470 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | TRUE | Energy consumed | 53110 | MWh/year
HEAT_PUMPS | TRUE | Peak sub max | 19 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 1.6 | Peak sub min | 12 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 2104 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 176.8 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 38930 | kEUR
|  | DSO revenues | 329600 | kEUR
|  | User | 20430 | kEUR/year
|  | PV | 819.9 | kEUR/year
|  | Grid connection | 6591 | kEUR/year
|  | Energy imported | 13190 | kEUR/year
|  | Energy exported | 172 | kEUR/year
|  | PV penetration | 33.6 | MVA
|  | PV production | 323.4 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 43970 | MWh/year
|  | Energy sold to grid | 1720 | MWh/year
|  | Substation capacity | 19.09 | MVA
|  | self sufficiency | 0.4519 | average, [-]
|  | self consumption | 0.6012 | average, [-]
|  | loss | 35.36 | MWh/year
|  | LCOE pv | 0.07545 | kEUR/MWh
|  | LCOE grid | 0.4642 | kEUR/MWh

## Sheet19
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 9610 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.655 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 3.086 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.6 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 713.6 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 56.15 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13200 | kEUR
|  | DSO revenues | 97600 | kEUR
|  | User | 9502 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 1952 | kEUR/year
|  | Energy imported | 7354 | kEUR/year
|  | Energy exported | 44.03 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 549.9 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 440.3 | MWh/year
|  | Substation capacity | 5.655 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 11.23 | MWh/year
|  | LCOE pv | 0.05187 | kEUR/MWh
|  | LCOE grid | 0.7838 | kEUR/MWh

## Sheet20
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 13280 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.651 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 2.053 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.9 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 713.1 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 30.79 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13170 | kEUR
|  | DSO revenues | 97540 | kEUR
|  | User | 13180 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 1951 | kEUR/year
|  | Energy imported | 11030 | kEUR/year
|  | Energy exported | 42.81 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 548.5 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 428.1 | MWh/year
|  | Substation capacity | 5.651 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 6.157 | MWh/year
|  | LCOE pv | 0.052 | kEUR/MWh
|  | LCOE grid | 1.094 | kEUR/MWh

## Sheet21
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 7066 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.652 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 4.293 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.2 | DSO fixed | 722.7 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 37.32 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13350 | kEUR
|  | DSO revenues | 156700 | kEUR
|  | User | 7051 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 3134 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 497.5 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 5.652 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 7.463 | MWh/year
|  | LCOE pv | 0.05733 | kEUR/MWh
|  | LCOE grid | 0.5557 | kEUR/MWh

## Sheet22
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 8339 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.652 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 4.373 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.3 | DSO fixed | 713.2 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 33.11 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 13170 | kEUR
|  | DSO revenues | 218000 | kEUR
|  | User | 8276 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 4359 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 0 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 497.5 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 0 | MWh/year
|  | Substation capacity | 5.652 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 6.622 | MWh/year
|  | LCOE pv | 0.05733 | kEUR/MWh
|  | LCOE grid | 0.6557 | kEUR/MWh

## Sheet23
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 5101 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.925 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 1.511 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 783.8 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.2 | DSO loss | 51.86 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 14490 | kEUR
|  | DSO revenues | 137200 | kEUR
|  | User | 5084 | kEUR/year
|  | PV | 306.8 | kEUR/year
|  | Grid connection | 2744 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 1644 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 1476 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 8221 | MWh/year
|  | Substation capacity | 6.131 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 10.37 | MWh/year
|  | LCOE pv | 0.02474 | kEUR/MWh
|  | LCOE grid | 1.184 | kEUR/MWh

## Sheet24
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 4243 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 7.059 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 3.416 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 866.4 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.3 | DSO loss | 62.24 | kEUR
GRID_CONNECTION_COST | 80 | DSO future value | 16020 | kEUR
|  | DSO revenues | 141600 | kEUR
|  | User | 4224 | kEUR/year
|  | PV | 330.5 | kEUR/year
|  | Grid connection | 2831 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 2615 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 1535 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 8716 | MWh/year
|  | Substation capacity | 7.066 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 12.45 | MWh/year
|  | LCOE pv | 0.02563 | kEUR/MWh
|  | LCOE grid | 1.1 | kEUR/MWh

## Sheet25
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 6239 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.652 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 2.443 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 713.2 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 32.96 | kEUR
GRID_CONNECTION_COST | 120 | DSO future value | 13170 | kEUR
|  | DSO revenues | 114600 | kEUR
|  | User | 6166 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 2293 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 43.72 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 549.6 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 437.2 | MWh/year
|  | Substation capacity | 5.652 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 6.592 | MWh/year
|  | LCOE pv | 0.0519 | kEUR/MWh
|  | LCOE grid | 0.5014 | kEUR/MWh

## Sheet26
|  | Model | Single Level
WEIGHT_OP_LIMITS | 0.01 | Objective | 6577 | kEUR/year
WINTER | TRUE | Time periods | 48
ELECTRIC_VEHICLES | FALSE | Energy consumed | 16440 | MWh/year
HEAT_PUMPS | FALSE | Peak sub max | 5.651 | MVA on 1 DT
MAX_PV_CAPACITY_PER_NODE | 0.4 | Peak sub min | 2.353 | MVA on 1 DT
PV_SCALE_SUMMER_WINTER | 0.1 | Nb lines built | 21 | -
IMP_ELECTRICITY_ENRG_COST | 0.3 | Nb substations | 2 | -
IMP_ELECTRICITY_DSO_COST | 0.1 | DSO fixed | 713.2 | kEUR
EXP_ELECTRICITY_ENRG_COST | 0.1 | DSO loss | 32.4 | kEUR
GRID_CONNECTION_COST | 160 | DSO future value | 13170 | kEUR
|  | DSO revenues | 131700 | kEUR
|  | User | 6507 | kEUR/year
|  | PV | 239.6 | kEUR/year
|  | Grid connection | 2634 | kEUR/year
|  | Energy imported | 3677 | kEUR/year
|  | Energy exported | 43.67 | kEUR/year
|  | PV penetration | 8.4 | MVA
|  | PV production | 549.5 | MWh/MVA/year
|  | PV potential | 1545 | MWh/MVA/year
|  | Energy bought from grid | 12260 | MWh/year
|  | Energy sold to grid | 436.7 | MWh/year
|  | Substation capacity | 5.651 | MVA
|  | self sufficiency | 0.4271 | average, [-]
|  | self consumption | 0.7226 | average, [-]
|  | loss | 6.48 | MWh/year
|  | LCOE pv | 0.05191 | kEUR/MWh
|  | LCOE grid | 0.5302 | kEUR/MWh