## Sheet1
|  | Model |  | Single Level
AMORT_PV | 25 | Objective | kEUR/year | 5992
weight_V | 0.01 | Gap | % | 0.02328
Storage_cost | 500 | Solve Time | sec. | 92.42
PVCC | 200 | Nb integer variables |  | 14826
radiality | single_commodity | Nb binary variables |  | 14826
relax_voltage | FALSE | Nb variables |  | 60599
AMORT_DSO | 50 | Nb constraints |  | 78241
network_reconfig | TRUE | Nb Quadratic constraints |  | 1728
PP | 7 | Time periods |  | 48
bilevel | FALSE | Energy consumed | MWh/year | 16580
days | 2 | Peak Demand | MW | 5.432
PVC | 500 | Peak sub max | MW | 5.412
storage | FALSE | Peak sub min | MW | -1.07
AMORT_PV_CONV | 10 | Nb lines built | - | 21
delta_t | 60 | Nb substations | - | 2
DSOEC | 0.1 | Nb lines cond 1 | - | [1, 2, 3, 4, 6, 7, 8, 11, 12, 14, 16, 17, 18, 19, 20, 22, 26, 27, 28, 29, 32]
SUB_COST | 1000 | Nb lines cond 2 | - | Int64[]
EV | FALSE | Nb lines cond 3 | - | Int64[]
EEC | 0.1 | Nb lines cond 4 | - | Int64[]
GCC | 80 | DSO fixed line | kEUR | 148
EIC | 0.3 | DSO fixed sub | kEUR | 5700
verbose | TRUE | DSO loss | kEUR | 75.63
network_graph_name | network | DSO future value | kEUR | 107800
EHP | FALSE | DSO revenues | kEUR | 107800
PV_pen | 1 | User | kEUR/year | 5874
weight_I | 0.01 | PV | kEUR/year | 241.4
plot_file_name | plot | Grid connection | kEUR/year | 2156
Storage_eff | 0.9 | Energy imported | kEUR/year | 3704
Storage_pen | 1 | Energy exported | kEUR/year | 227.7
PV_CAPA | 0.4 | PV capacity | MVA | 8.4
simu_name | simu | PV penetration (v1) | %/year | 1.546
IR_DSO | 0.06 | PV penetration (v2) | %/year | 0.3925
AMORT_STORAGE | 15 | PV energy | MWh/year | 6507.0
|  | PV potential | MWh/year | 12980.0
|  | Mean Global Self sufficiency/day | average, [%] | 0.2125
|  | Mean Global Self Consumption/day | average, [%] | 0.4166
|  | Mean Global Production ratio | average, [%] | 0.4179
|  | LCOE pv | kEUR/MWh | 0.03711
|  | Mean Self Sufficiency User 1 | % | 0.2142
|  | Mean Self Sufficiency User 2 | % | 0.2275
|  | Mean Self Sufficiency User 3 | % | 0.2145
|  | Mean Self Sufficiency User 4 | % | 0.2197
|  | Mean Self Sufficiency User 5 | % | 0.2119
|  | Mean Self Sufficiency User 6 | % | 0.1882
|  | Mean Self Sufficiency User 7 | % | 0.2002
|  | Mean Self Sufficiency User 8 | % | 0.1921
|  | Mean Self Sufficiency User 9 | % | 0.2241
|  | Mean Self Sufficiency User 10 | % | 0.2171
|  | Mean Self Sufficiency User 11 | % | 0.2154
|  | Mean Self Sufficiency User 12 | % | 0.209
|  | Mean Self Sufficiency User 13 | % | 0.243
|  | Mean Self Sufficiency User 14 | % | 0.1877
|  | Mean Self Sufficiency User 15 | % | 0.2421
|  | Mean Self Sufficiency User 16 | % | 0.2039
|  | Mean Self Sufficiency User 17 | % | 0.1882
|  | Mean Self Sufficiency User 18 | % | 0.2021
|  | Mean Self Sufficiency User 19 | % | 0.2063
|  | Mean Self Sufficiency User 20 | % | 0.1831
|  | Mean Self Sufficiency User 21 | % | 0.2728
|  | Mean Self Consumption User 1 | % | 0.4694
|  | Mean Self Consumption User 2 | % | 0.4553
|  | Mean Self Consumption User 3 | % | 0.4707
|  | Mean Self Consumption User 4 | % | 0.3895
|  | Mean Self Consumption User 5 | % | 0.3871
|  | Mean Self Consumption User 6 | % | 0.3946
|  | Mean Self Consumption User 7 | % | 0.3971
|  | Mean Self Consumption User 8 | % | 0.4004
|  | Mean Self Consumption User 9 | % | 0.4407
|  | Mean Self Consumption User 10 | % | 0.4402
|  | Mean Self Consumption User 11 | % | 0.4484
|  | Mean Self Consumption User 12 | % | 0.3815
|  | Mean Self Consumption User 13 | % | 0.4387
|  | Mean Self Consumption User 14 | % | 0.4657
|  | Mean Self Consumption User 15 | % | 0.3709
|  | Mean Self Consumption User 16 | % | 0.4667
|  | Mean Self Consumption User 17 | % | 0.399
|  | Mean Self Consumption User 18 | % | 0.393
|  | Mean Self Consumption User 19 | % | 0.4147
|  | Mean Self Consumption User 20 | % | 0.4061
|  | Mean Self Consumption User 21 | % | 0.3199
|  | Mean Production Ratio User 1 | % | 0.4054
|  | Mean Production Ratio User 2 | % | 0.3739
|  | Mean Production Ratio User 3 | % | 0.391
|  | Mean Production Ratio User 4 | % | 0.4695
|  | Mean Production Ratio User 5 | % | 0.4412
|  | Mean Production Ratio User 6 | % | 0.426
|  | Mean Production Ratio User 7 | % | 0.4405
|  | Mean Production Ratio User 8 | % | 0.4791
|  | Mean Production Ratio User 9 | % | 0.3978
|  | Mean Production Ratio User 10 | % | 0.3776
|  | Mean Production Ratio User 11 | % | 0.4075
|  | Mean Production Ratio User 12 | % | 0.4445
|  | Mean Production Ratio User 13 | % | 0.3788
|  | Mean Production Ratio User 14 | % | 0.4199
|  | Mean Production Ratio User 15 | % | 0.4019
|  | Mean Production Ratio User 16 | % | 0.4188
|  | Mean Production Ratio User 17 | % | 0.4634
|  | Mean Production Ratio User 18 | % | 0.3775
|  | Mean Production Ratio User 19 | % | 0.4382
|  | Mean Production Ratio User 20 | % | 0.4077
|  | Mean Production Ratio User 21 | % | 0.4153
|  | Grid capacity | average, MVA | 0.4127
|  | Energy bought from grid | MWh/year | 12350
|  | Energy sold to grid | MWh/year | 2277
|  | Substation 1 capacity | MVA | 4.176
|  | Substation 2 capacity | MVA | 1.524
|  | loss | MWh/year | 7.202
|  | LCOE grid | kEUR/MWh | 0.4562
|  | CAPEX | M€/y | 0.117
|  | OPEX | k€/y | 1.513
|  | UPVC | M€/y | 0.2414
|  | UGCC | M€/y | 2.156
|  | UNEEC | M€/y | 3.477
|  | USS | % | 0.2125
|  | USC | % | 0.4166